## 100YR
5-YR STORM EVENT | [6 empty] | 10-YR STORM EVENT | [6 empty] | 25-YR STORM EVENT | [6 empty] | 100-YR STORM EVENT
A. TOTAL AREA DRAINING TO POND = 8.22 AC (DA 1-10, 14, 17-19, 21-23) | [6 empty] | A. TOTAL AREA DRAINING TO POND = 8.22 AC (DA 1-10, 14, 17-19, 21-23) | [6 empty] | A. TOTAL AREA DRAINING TO POND = 8.22 AC (DA 1-10, 14, 17-19, 21-23) | [6 empty] | A. TOTAL AREA DRAINING TO POND = 8.22 AC (DA 1-10, 14, 17-19, 21-23)
B. TOTAL BYPASS AROUND POND = 0.19 (DA 17) | [6 empty] | B. TOTAL BYPASS AROUND POND = 0.19 (DA 17) | [6 empty] | B. TOTAL BYPASS AROUND POND = 0.19 (DA 17) | [6 empty] | B. TOTAL BYPASS AROUND POND = 0.19 (DA 17)
C. ALLOWABLE DISCHARGE FROM POND = (8.22)(0.35)(4.90) = 14.10 CFS | [6 empty] | C. ALLOWABLE DISCHARGE FROM POND = (8.22)(.35)(5.90) = 16.97 CFS | [6 empty] | C. ALLOWABLE DISCHARGE FROM POND = 17.42 CFS (2) | [6 empty] | C. ALLOWABLE DISCHARGE FROM POND = 18.00 CFS (1)
D. PROPOSED BYPASS AROUND POND = CIA = 0.90(6.1)(0.19) = 1.04 CFS | [6 empty] | D. PROPOSED BYPASS AROUND POND = CIA = 0.90(7.1)(0.19) = 1.21 CFS | [6 empty] | D. PROPOSED BYPASS AROUND POND = CIA = 0.90(8.3)(0.19) = 1.42 CFS | [6 empty] | D. PROPOSED BYPASS AROUND POND = CIA = 0.90(9.8)(0.19) = 1.68 CFS
E. EXISTING BYPASS AROUND POND = CIA = 0.35(4.9)(0) = 0 CFS | [6 empty] | E. EXISTING BYPASS AROUND POND = CIA = 0.35(5.9)(0) = 0 CFS | [6 empty] | E. EXISTING BYPASS AROUND POND = CIA = 0.35(6.6)(0) = 0 CFS | [6 empty] | E. EXISTING BYPASS AROUND POND = CIA = 0.35(8.3)(0) = 0 CFS
F. DESIGN DISCHARGE FROM POND C-(D-E) = 14.10 - (1.04-0) = 13.06 CFS | [6 empty] | F. DESIGN DISCHARGE FROM POND C-(D-E) = 16.97 - (1.21-0) = 15.76 CFS | [6 empty] | F. DESIGN DISCHARGE FROM POND C-(D-E) = 17.42 - (1.42-0) = 16.00 CFS | [6 empty] | F. DESIGN DISCHARGE FROM POND C-(D-E) = 18.00 - (1.68-0) = 16.32 CFS
| Area, acres | 8.22 | [5 empty] | Area, acres | 8.22 | [5 empty] | Area, acres | 8.22 | [5 empty] | Area, acres | 8.22
| Present Conditions |  |  | Proposed Conditions |  |  |  | Present Conditions |  |  | Proposed Conditions |  |  |  | Present Conditions |  |  | Proposed Conditions |  |  |  | Present Conditions |  |  | Proposed Conditions
| C | 0.35 |  | C | 0.9 |  |  | C | 0.35 |  | C | 0.9 |  |  | C | 0.35 |  | C | 0.9 |  |  | C | 0.35 |  | C | 0.9
| Tc | 20 |  | Tc | 10 |  |  | Tc | 20 |  | Tc | 10 |  |  | Tc | 20 |  | Tc | 10 |  |  | Tc | 20 |  | Tc | 10
| i(5) | 4.9 |  | i(5) | 6.1 |  |  | i(10) | 5.9 |  | i(10) | 7.1 |  |  | i(25) | 6.6 |  | i(25) | 8.3 |  |  | i(100) | 8.3 |  | i(100) | 9.8
| Q(5) | 14.0973 |  | Q(5) | 45.1278 |  |  | Q(10) | 16.9743 |  | Q(10) | 52.5258 |  |  | Q(25) | 18.9882 |  | Q(25) | 61.4034 |  |  | Q(100) | 23.8791 |  | Q(100) | 72.5004
| Q(release) | 13.06 | [5 empty] | Q(release) | 15.76 | [5 empty] | Q(release) | 16 | [5 empty] | Q(release) | 16.32
[5 empty] | Proposed Intensities | [6 empty] | Proposed Intensities | [6 empty] | Proposed Intensities | [6 empty] | Proposed Intensities
Time | Inflow | Outflow | Storage (cf) |  | Tc | Intensity | Time | Inflow | Outflow | Storage (cf) |  | Tc | Intensity | Time | Inflow | Outflow | Storage (cf) |  | Tc | Intensity | Time | Inflow | Outflow | Storage (cf) |  | Tc | Intensity
10 | 27076.68 | 7836 | 19240.68 |  | 10 | 6.1 | 10 | 31515.48 | 9456 | 22059.48 |  | 10 | 7.1 | 10 | 36842.04 | 9600 | 27242.04 |  | 10 | 8.3 | 10 | 43500.24 | 9792 | 33708.24 |  | 10 | 9.8
20 | 43500.24 | 11754 | 31746.24 |  | 20 | 4.9 | 20 | 52377.84 | 14184 | 38193.84 |  | 20 | 5.9 | 20 | 58592.16 | 14400 | 44192.16 |  | 20 | 6.6 | 20 | 73684.08 | 14688 | 58996.08 |  | 20 | 8.3
30 | 54597.24 | 15672 | 38925.24 |  | 30 | 4.1 | 30 | 63918.72 | 18912 | 45006.72 |  | 30 | 4.8 | 30 | 73240.2 | 19200 | 54040.2 |  | 30 | 5.5 | 30 | 91883.16 | 19584 | 72299.16 |  | 30 | 6.9
40 | 60367.68 | 19590 | 40777.68 |  | 40 | 3.4 | 40 | 71020.8 | 23640 | 47380.8 |  | 40 | 4 | 40 | 81673.92 | 24000 | 57673.92 |  | 40 | 4.6 | 40 | 102980.16 | 24480 | 78500.16 |  | 40 | 5.8
50 | 62143.2 | 23508 | 38635.2 |  | 50 | 2.8 | 50 | 77679 | 28368 | 49311 |  | 50 | 3.5 | 50 | 88776 | 28800 | 59976 |  | 50 | 4 | 50 | 110970 | 29376 | 81594 |  | 50 | 5
60 | 69245.28 | 27426 | 41819.28 |  | 60 | 2.6 | 60 | 79898.4 | 33096 | 46802.4 |  | 60 | 3 | 60 | 93214.8 | 33600 | 59614.8 |  | 60 | 3.5 | 60 | 119847.6 | 34272 | 85575.6 |  | 60 | 4.5
70 | 74571.84 | 31344 | 43227.84 |  | 70 | 2.4 | 70 | 87000.48 | 37824 | 49176.48 |  | 70 | 2.8 | 70 | 102536.28 | 38400 | 64136.28 |  | 70 | 3.3 | 70 | 124286.4 | 39168 | 85118.4 |  | 70 | 4
80 | 81673.92 | 35262 | 46411.92 |  | 80 | 2.3 | 80 | 92327.04 | 42552 | 49775.04 |  | 80 | 2.6 | 80 | 110082.24 | 43200 | 66882.24 |  | 80 | 3.1 | 80 | 131388.48 | 44064 | 87324.48 |  | 80 | 3.7
90 | 83893.32 | 39180 | 44713.32 |  | 90 | 2.1 | 90 | 99873 | 47280 | 52593 |  | 90 | 2.5 | 90 | 115852.68 | 48000 | 67852.68 |  | 90 | 2.9 | 90 | 139822.2 | 48960 | 90862.2 |  | 90 | 3.5
100 | 84337.2 | 43098 | 41239.2 |  | 100 | 1.9 | 100 | 106531.2 | 52008 | 54523.2 |  | 100 | 2.4 | 100 | 119847.6 | 52800 | 67047.6 |  | 100 | 2.7 | 100 | 146524.788 | 53856 | 92668.788 |  | 100 | 3.301
120 | 74571.84 | 50934 | 23637.84 |  | 120 | 1.4 | 120 | 85224.96 | 61464 | 23760.96 |  | 120 | 1.6 | 120 | 101204.64 | 62400 | 38804.64 |  | 120 | 1.9 | 120 | 146480.4 | 63648 | 82832.4 |  | 120 | 2.75
[14 empty] | (2) DISCHARGE 17.42 CFS ESTIMATED AT 44% OF THE DIFFERENCE BETWEEN 100-YR STORM AND | [6 empty] | (1) DISCHARGE 19.76 CFS FROM STORM PIPE DESIGN HARLAN PARK PHASE TWO, SHEETS 7 AND 8 OF 9, DATED
[14 empty] | 10-YR STORM FLOWS. PERCENTAGE BASED ON 10 MINUTE Tc INTENSITY DIFFERENCES. | [6 empty] | 11/16/94. DA "OS3" ENTERS EX INLET AND REDUCES ALLOWABLE FLOW TO 18.00 CFS.
5-YR DETENTION POND VOLUME (CF) | [6 empty] | 10-YR DETENTION POND VOLUME (CF) | [6 empty] | 25-YR DETENTION POND VOLUME (CF) | [6 empty] | 100-YR DETENTION POND VOLUME (CF)
CONTOUR | AREA (SF) | VOLUME (CF) | CUMM. VOLUME (CF) | 100-YR VOLUME | 100-YR WSEL |  | CONTOUR | AREA (SF) | VOLUME (CF) | CUMM. VOLUME (CF) | 100-YR VOLUME | 100-YR WSEL |  | CONTOUR | AREA (SF) | VOLUME (CF) | CUMM. VOLUME (CF) | 100-YR VOLUME | 100-YR WSEL |  | CONTOUR | AREA (SF) | VOLUME (CF) | CUMM. VOLUME (CF) | 100-YR VOLUME | 100-YR WSEL
533 | 31502 | 30145.5 | 124482 |  |  |  | 533 | 31502 | 30145.5 | 124482 |  |  |  | 533 | 31502 | 30145.5 | 124482 |  |  |  | 533 | 31502 | 30145.5 | 124482
532 | 28789 | 27481 | 94336.5 |  |  |  | 532 | 28789 | 27481 | 94336.5 |  |  |  | 532 | 28789 | 27481 | 94336.5 |  |  |  | 532 | 28789 | 27481 | 94336.5
531 | 26173 | 24916 | 66855.5 |  |  |  | 531 | 26173 | 24916 | 66855.5 |  |  |  | 531 | 26173 | 24916 | 66855.5 | 67853 | 531.0363 |  | 531 | 26173 | 24916 | 66855.5 | 92669 | 531.9393
530 | 23659 | 22452.5 | 41939.5 | 46412 | 530.1795 |  | 530 | 23659 | 22452.5 | 41939.5 | 54523 | 530.505 |  | 530 | 23659 | 22452.5 | 41939.5 |  |  |  | 530 | 23659 | 22452.5 | 41939.5
529 | 21246 | 15055 | 19487 |  |  |  | 529 | 21246 | 15055 | 19487 |  |  |  | 529 | 21246 | 15055 | 19487 |  |  |  | 529 | 21246 | 15055 | 19487
528 | 8864 | 4432 | 4432 |  |  |  | 528 | 8864 | 4432 | 4432 |  |  |  | 528 | 8864 | 4432 | 4432 |  |  |  | 528 | 8864 | 4432 | 4432
527 | 0 | [5 empty] | 527 | 0 | [5 empty] | 527 | 0 | [5 empty] | 527 | 0

## 25YR
DETENTION POND VOLUME CALCULATOR
RATIONAL METHOD
DETENTION POND
| Area, acres | 2.96
| Present Conditions |  |  | Proposed Conditions
| C | 0.35 |  | C | 0.9
| Tc | 20 |  | Tc | 10
| i(25) | 6.7 |  | i(25) | 8.3
| Q(25) | 6.9412 |  | Q(25) | 22.1112
| Q(release) | 5.35
Proposed Intensities
Time | Inflow | Outflow | Storage (cf) |  | Tc | Intensity
10 | 13266.72 | 3210 | 10056.72 |  | 10 | 8.3
20 | 21418.56 | 4815 | 16603.56 |  | 20 | 6.7
30 | 26373.6 | 6420 | 19953.6 |  | 30 | 5.5
40 | 29730.24 | 8025 | 21705.24 |  | 40 | 4.65
50 | 31968 | 9630 | 22338 |  | 50 | 4
60 | 34045.92 | 11235 | 22810.92 |  | 60 | 3.55
70 | 35804.16 | 12840 | 22964.16 |  | 70 | 3.2
80 | 36443.52 | 14445 | 21998.52 |  | 80 | 2.85
90 | 37402.56 | 16050 | 21352.56 |  | 90 | 2.6

## 10YR
DETENTION POND VOLUME CALCULATOR
RATIONAL METHOD
DETENTION POND
| Area, acres | 2.96
| Present Conditions |  |  | Proposed Conditions
| C | 0.35 |  | C | 0.9
| Tc | 20 |  | Tc | 10
| i(10) | 5.9 |  | i(10) | 7.2
| Q(10) | 6.1124 |  | Q(10) | 19.1808
| Q(release) | 4.74
Proposed Intensities
Time | Inflow | Outflow | Storage (cf) |  | Tc | Intensity
10 | 11508.48 | 2844 | 8664.48 |  | 10 | 7.2
20 | 18861.12 | 4266 | 14595.12 |  | 20 | 5.9
30 | 23496.48 | 5688 | 17808.48 |  | 30 | 4.9
40 | 25574.4 | 7110 | 18464.4 |  | 40 | 4
50 | 27972 | 8532 | 19440 |  | 50 | 3.5
60 | 28771.2 | 9954 | 18817.2 |  | 60 | 3
70 | 30209.76 | 11376 | 18833.76 |  | 70 | 2.7
80 | 31328.64 | 12798 | 18530.64 |  | 80 | 2.45
90 | 32367.6 | 14220 | 18147.6 |  | 90 | 2.25

## 5YR
DETENTION POND VOLUME CALCULATOR
RATIONAL METHOD
DETENTION POND
| Area, acres | 7.75
| Present Conditions |  |  | Proposed Conditions
| C | 0.35 |  | C | 0.9
| Tc | 20 |  | Tc | 10
| i(5) | 5 |  | i(5) | 6.1
| Q(5) | 13.5625 |  | Q(5) | 42.5475
| Q(release) | 18.76
Proposed Intensities
Time | Inflow | Outflow | Storage (cf) |  | Tc | Intensity
10 | 25528.5 | 11256 | 14272.5 |  | 10 | 6.1
20 | 41850 | 16884 | 24966 |  | 20 | 5
30 | 50220 | 22512 | 27708 |  | 30 | 4
40 | 58590 | 28140 | 30450 |  | 40 | 3.5
50 | 60682.5 | 33768 | 26914.5 |  | 50 | 2.9
60 | 65286 | 39396 | 25890 |  | 60 | 2.6
70 | 71772.75 | 45024 | 26748.75 |  | 70 | 2.45
80 | 73656 | 50652 | 23004 |  | 80 | 2.2
90 | 75330 | 56280 | 19050 |  | 90 | 2

## POND LAYER
DETENTION POND VOLUME (CF)
CONTOUR | AREA (SF) | VOLUME (CF) | CUMM. VOLUME (CF) | 100-YR VOLUME | 100-YR WSEL
533 | 28803 | 27522 | 113863.5
532 | 26241 | 25010.5 | 86341.5
531 | 23780 | 22599.5 | 61331 | 41239.2 | 530.1967
530 | 21419 | 20288.5 | 38731.5
529 | 19158 | 14011 | 18443
528 | 8864 | 4432 | 4432
527 | 0
DETENTION POND VOLUME (CF)
CONTOUR | AREA (SF) | VOLUME (CF) | CUMM. VOLUME (CF) | 25-YR VOLUME | 25-YR WSEL
569 | 15662
|  | 14484.5 | 33429.5833
568 | 13307 |  |  | 22964 | 568.28
|  | 12207.5 | 18945.0833
567 | 11108
|  | 6568.5 | 6737.5833
566 | 2029
|  | 169.0833 | 169.0833
565.5 | 0
DETENTION POND VOLUME (CF)
CONTOUR | AREA (SF) | VOLUME (CF) | CUMM. VOLUME (CF) | 10-YR VOLUME | 10-YR WSEL
569 | 15662
|  | 14484.5 | 33429.5833
568 | 13307
|  | 12207.5 | 18945.0833
567 | 11108 |  |  | 18834 | 567.99
|  | 6568.5 | 6737.5833
566 | 2029
|  | 169.0833 | 169.0833
565.5 | 0
DETENTION POND VOLUME (CF)
CONTOUR | AREA (SF) | VOLUME (CF) | CUMM. VOLUME (CF) | 5-YR VOLUME | 5-YR WSEL
569 | 15662
|  | 14484.5 | 33429.5833
568 | 13307
|  | 12207.5 | 18945.0833
567 | 11108 |  |  | 17765 | 567.9
|  | 6568.5 | 6737.5833
566 | 2029
|  | 169.0833 | 169.0833
565.5 | 0

## OUTLET
V-NOTCHED WEIR CALCULATION | [5 empty] | DISCHARGE FROM POND
| WSEL | FLOW LINE | C | ANGLE | Q CFS | EVENT | ALLOWABLE DISCHARGE FROM POND (CFS) | ACTUAL DISCHARGE FROM POND (CFS)
5YEAR | 530.18 | 527.3 | 0.6 | 0.2705 | 4.9189
[6 empty] | 5YEAR | 13.06 | 4.9189
10YEAR | 530.51 | 527.3 | 0.6 | 0.2705 | 6.4514
[6 empty] | 10YEAR | 15.76 | 6.4514
25YEAR | 531.04 | 527.3 | 0.6 | 0.2705 | 9.453
[6 empty] | 25YEAR | 16 | 9.453
100YEAR | 531.94 | 527.3 | 0.6 | 0.2705 | 16.2063
[6 empty] | 100YEAR | 16.32 | 16.2063
Q = 8/15*C*(2g)^0.5*TAN(ANGLE/2)*H^2.5
ANGLE = 15.5 DEGREES = 0.271 RADIANS
H = WSEL - FLOW LINE